## Recommended Improvements for the Waste Management Plan

The document is comprehensive and well prepared. However, the following improvements are recommended before final approval.

### 1. Document Status

- The document is marked as "Approved Operational Manual" although the approval process is not yet completed.

- It is recommended to use "Draft for Review" or "Issued for Review" until final approval is obtained.

### 2. Reference for Technical Limits

- Water quality limits, noise limits, air quality limits and gas monitoring criteria should include their reference sources.

- Applicable Iraqi regulations, BGC/MOE requirements or Siemens Energy standards should be specified.

### 3. Project-Specific Applicability

- Systems such as STP, fixed gas detectors and oil-water separators should be verified against actual site conditions.

- If not available on site, they should be described as applicable where required rather than mandatory systems.

### 4. Waste Inventory

- A project-specific waste inventory should be included.

- Waste type, classification, disposal route and responsible person should be clearly identified.

### 5. License Verification Process

- The process for verifying waste transporter and disposal facility licenses should be clearly defined.

### 6. Record Retention

- Retention periods for manifests, monitoring reports, training records and environmental documentation should be specified.

## Conclusion

The document is technically strong and detailed. Clarifying the points above will improve alignment with Siemens Energy requirements and client expectations while ensuring practical implementation at site.