## Slide 1
SIEMENS
ENERGY
KAZ Power Plant Upgrade Project | Zero Harm Culture
CONFIDENTIAL سري - للإدارة العليا فقط Management Eyes Only
Subcontractor EHS Non-Compliance Report - Final Site Observations
تقرير مخالفات السلامة النهائي للمقاول الفرعي - الملاحظات الميدانية الفعلية
Based on 9 Actual Site Observations Provided | Executive White Design with Dedicated Photo Placeholders
Final Observations Summary / ملخص الملاحظات النهائية الـ 9 - Each Violation Has Separate Slide
01. Painting, Storage Fence Installation, Cement Pouring WITHOUT PTW & Induction + No knowledge in ENERGIZED zone طلاء، تركيب حاجز مخزن، صب أسمنت بدون بيرمت وبدون اندكشن + عدم علم رغم منطقة انرجايز - CRITICAL 02. Excavation Barricades - Soft Barricade Instead of Hard Barricade (Tape Only - Prohibited) حواجز الحفر سوفت باركيد بدل هارد باركيد - شريط فقط ممنوع - CRITICAL 03. Recurring PPE Violations Despite Repeated Warnings - Same Crew مخالفات PPE متكررة رغم التبليغ - نفس العمالة - HIGH 04. Historical Pattern - Bitumen, Workshop, Formwork Works Without PTW - Systemic Failure أعمال سابقة نفس المخالفات - بيتومين، ورشة، فورم ورك بدون بيرمت - CRITICAL 05. Non-Compliance with EHS Directives - Refusal to Stop Unsafe Equipment Despite Order عدم اتباع أوامر السلامة - رفض إيقاف معدات غير مقبولة واستمرار العمل - CRITICAL 06. Unsafe Condition of Workshop Equipment - Exposed Cables, Missing Guards, Damaged Slings معدات الورشة غير آمنة - كوابل مكشوفة، بدون غطاء حماية، تالف - CRITICAL 07. Poor Waste Management & Lack of Segregation - No Clear System عدم توضيح إدارة النفايات وفصل المواد - سوء نظافة - HIGH 08. Deficiency in Safety Signage - Parking Garage & Speed Limits Missing/Damaged فقر في لوحات السلامة - باركنك كراج ولوحات سرعة محددة مفقودة/تالفة - HIGH 09. Delayed Response from Al-Mial to Close Observations - Poor Close-Out System تأخر استجابة قسم الميال لحل الملاحظات - نظام إغلاق ضعيف - HIGH
Report Information & Design / معلومات التقرير والتصميم
Reference: SE-EHS-NC-2026-FINAL-9OBS-V7 Ref: SE-EHS-NC-2026-FINAL-9OBS-V7 Date: September 2026 Prepared by: EHS Manager - Siemens Energy Project: KAZ Power Plant Upgrade Classification: Confidential - Top Management Standards: • ISO 45001:2018, ISO 14001:2015 • OSHA 29 CFR 1926 • Siemens Energy EHS Principles • Life Saving Rules • Project EHS Plan Design: Executive White Modern - FIXED • Background: Pure White #FFFFFF • Text: Dark #212121 / Grey #616161 • Warning: Red #E30613 Critical / Amber #FFB900 High • Accent: Teal #009999 / Dark Petrol #0E2F3E • Siemens Energy Logo on every slide (top left) Each Slide Includes - FIXED as Requested: ✓ Separate slide for each violation (9 slides) ✓ Dedicated LARGE photo placeholder ✓ [أدخل صورة المخالفة هنا] / [Insert Violation Photo Here] - Very Clear ✓ 3 photo boxes per slide: Main + Additional + After Correction ✓ Technical Description, Risk Assessment, Corrective Action ✓ Siemens Energy Logo on every slide Based on YOUR 9 actual observations - Final Version
Executive Statement / ملاحظة تنفيذية - FIXED DESIGN:
This FINAL report documents 9 ACTUAL site observations provided by EHS team - each violation has SEPARATE slide with DEDICATED LARGE photo placeholder [Insert Violation Photo Here] / [أدخل صورة المخالفة هنا] - Siemens Energy logo on every slide - Executive white modern design with Red/Yellow warning highlights - Ready for top management review and decision - Each slide includes Technical Description, Risk Assessment, Corrective Action, and 3 photo boxes. هذا التقرير النهائي يوثق 9 ملاحظات فعلية - كل مخالفة لها شريحة منفصلة مع مكان صور كبير وواضح [أدخل صورة المخالفة هنا] - شعار سيمنز في كل شريحة - تصميم تنفيذي أبيض عصري - جاهز لمراجعة الإدارة العليا.

## Slide 2
SIEMENS
ENERGY
Final Recommendations & Corrective Action Plan - Based on 9 Actual Observations
🔴 IMMEDIATE (0-24h) / فوري
• STOP WORK: Painting, Storage Fence, Cement, Excavation without hard barricade, Unsafe workshop equipment • Secure ENERGIZED zone - hard barricade + LOTO + fire watch • Remove non-inducted personnel - 100% gate - manpower list vs induction in 6h • Ground leaking/unsafe equipment - Tag DO NOT USE • Issue NCR Level 2 + contractual warning - cumulative for pattern • Emergency meeting - Al-Mial MD + PM within 12h - written explanation for refusal [Photo Placeholder: Secured energized zone after stop work] [مكان صورة: منطقة مؤمنة بعد إيقاف العمل] DECISION: Approve Stop-Work Authority to EHS Root Cause: Why work started without knowledge of own supervision?
🟡 SHORT-TERM (1-7 Days) / قصير
• PTW Audit: Review ALL historical - bitumen, workshop, formwork, painting, storage, cement - submit in 48h • Re-Training: PTW + Energized Zone + Excavation + PPE + Waste - all Al-Mial supervision - 80% pass • Hard Barricades: Replace ALL soft tape with hard barricades - within 12h - Before/After photos • Workshop Equipment: Inventory + maintenance history + 3rd party certs in 48h - replace damaged • Waste: Color-coded skips + labeling + focal point + training • Signage: Parking + speed limit 15 km/h - retro-reflective + flagmen + radar + speed humps • PPE Campaign + BBS + Daily management walks [Photo Placeholder: Compliant hard barricade + signage + waste segregation] [مكان صورة: حالة مطابقة بعد التصحيح] DECISION: Approve $20k cost - back-charge to Al-Mial
🟢 STRATEGIC (7-30 Days) / استراتيجي
• Penalty Matrix: Linked to KPIs - TRIR, NCR closure, PTW compliance, observation close-out - deduction from invoice • Leadership Accountability: Replace non-performing supervisors who refused EHS order - CV + competency interview by SE • System Upgrade: Digital PTW with QR + Biometric induction + equipment checklist app + observation tracker • KPI & Scorecard: Weekly dashboard Red/Amber/Green to Top Management - include delayed response metric for Al-Mial • Independent Audit: 3rd party EHS audit of Al-Mial system - ISO 45001/14001 gap analysis • Zero Harm Commitment: Re-sign Life Saving Rules - Townhall with Top Management - visible commitment • Contingency: Prepare demobilization / replacement plan if no sustained improvement [Photo Placeholder: Dashboard / Training / Digital PTW] [مكان صورة: لوحة مؤشرات / تدريب] DECISION: Authorize partial termination if critical violations recur + observation delay continues
✅ MANAGEMENT DECISION MATRIX - REQUIRED TODAY / مصفوفة القرارات - مطلوب اليوم
1. Approve Stop-Work Authority for Energized Zone + Unsafe Equipment [ ] Yes [ ] No | إيقاف العمل في منطقة انرجايز والمعدات غير الآمنة 2. Authorize Warning + Penalty for Refusal to Follow EHS Order [ ] Yes [ ] No | تحذير وغرامة لرفض أوامر السلامة 3. Mandate Al-Mial Top Management On-Site within 12h with Written Explanation [ ] Yes [ ] No | حضور إدارة الميال خلال 12 ساعة مع توضيح كتابي 4. Approve Budget $20k for Hard Barricades, Signage, Waste Skips - Back-charge [ ] Yes [ ] No | ميزانية حواجز ولوحات وحاويات - تحميل على المقاول 5. Endorse Zero Tolerance 3 Strikes + Observation Close-Out KPI (Critical 24h) [ ] Yes [ ] No | عدم تسامح 3 مخالفات + مؤشر إغلاق الملاحظات Signature: _________________ Project Director Date: _______ | Signature: _________________ Construction Manager Date: _______ | Signature: _________________ EHS Manager Date: _______