## Monthly Schedule
EHS Monthly Inspection Schedule
Daily Environment, Health & Safety Inspection Plan for Plant Equipment and Systems
Total Inspections |  | Completed |  | Pending |  | Overdue / Deferred
30 |  | 0 |  | 29 |  | 0
Day | Inspection Type / Equipment Scope | Location / Area | Inspector / Responsible | Scheduled Date | Status | Remarks / Findings
Day 1 | First Aid Kits Inspection | All Departments & Site Offices | EHS Officer | 2026-09-01 | Pending
Day 2 | Spill Kits & Absorbent Stock Check | Chemical Stores & Workshops | Environmental Tech | 2026-09-02 | Pending
Day 3 | Fire Extinguishers Inspection | Admin Building & Warehouses | Safety Technician | 2026-09-03 | Pending
Day 4 | Personal Protective Equipment (PPE Check) | All Site Personnel & Workers | Site Supervisor | 2026-09-04 | Pending
Day 5 | Emergency Eye Wash & Shower Stations | Laboratories & Chemical Areas | EHS Officer | 2026-09-05 | Pending
Day 6 | Scaffolding & Work Platforms Inspection | Construction & Maintenance Sites | Scaffolding Inspector | 2026-09-06 | Pending
Day 7 | Portable & Fixed Gas Detectors | Confined Spaces & Process Areas | Safety Technician | 2026-09-07 | Pending
Day 8 | Electrical Panels & Cable Integrity Check | Substations & Generator Rooms | Electrical Tech | 2026-09-08 | Pending
Day 9 | Fire Alarm & Detection Systems | All Buildings & Control Rooms | Fire Tech | 2026-09-09 | Pending
Day 10 | Lifting Equipment, Webbing & Slings | Maintenance Workshop & Rigging | Lifting Inspector | 2026-09-10 | Pending
Day 11 | Fall Protection (Harnesses & Lanyards) | Safety Store & High-Risk Areas | EHS Officer | 2026-09-11 | Pending
Day 12 | Compressed Gas Cylinders & Storage | Welding Shops & Storage Yards | Workshop Supervisor | 2026-09-12 | Pending
Day 13 | Emergency Exits & Evacuation Routes | All Site Facilities & Buildings | EHS Officer | 2026-09-13 | Pending
Day 14 | Excavation, Trenching & Shoring Safety | Active Excavation Zones | Site Engineer | 2026-09-14 | Pending
Day 15 | Emergency Lighting Systems | Corridors, Stairwells & Exits | Electrical Tech | 2026-09-15 | Pending
Day 16 | Fire Water Pumps & Storage Tanks | Fire Pump Station | Maintenance Engineer | 2026-09-16 | Pending
Day 17 | Heavy Vehicles & Mobile Equipment Inspection | Equipment Yard & Transport | Fleet Supervisor | 2026-09-17 | Pending
Day 18 | Chemical Storage & SDS Verification | Central Chemical Store | Chemical/EHS Tech | 2026-09-18 | Pending
Day 19 | Lockout / Tagout (LOTO) Devices & Audits | Workshops & Isolation Points | Safety Engineer | 2026-09-19 | Pending
Day 20 | Housekeeping & 5S Audit | Workshops, Yard & Offices | EHS Committee | 2026-09-20 | Pending
Day 21 | HVAC & Mechanical Ventilation Systems | Enclosed Workspaces & Control Rooms | HVAC Tech | 2026-09-21 | Pending
Day 22 | Welding & Hot Work Safety Equipment | Fabrication Shop & Hot Work Areas | Safety Supervisor | 2026-09-22 | Pending
Day 23 | Fuel Storage Tanks & Containment Bunds | Fuel Station & Generator Bunds | Environmental Tech | 2026-09-23 | Pending
Day 24 | off | off | off
Day 25 | Emergency Communication Equipment | Control Room & Duty Offices | Communications Officer | 2026-09-25 | Pending
Day 26 | Waste Storage & Segregation Bins | Waste Management Areas | Environmental Officer | 2026-09-26 | Pending
Day 27 | Earthing & Grounding Systems Check | Generators & Heavy Equipment | Electrical Tech | 2026-09-27 | Pending
Day 28 | Canteen, Welfare & Sanitation Facilities | Rest Caravans & Canteen Area | Services Supervisor | 2026-09-28 | Pending
Day 29 | Safety Signage, Barriers & Barricades | Site Access Roads & Pedestrian Paths | Safety Supervisor | 2026-09-29 | Pending
Day 30 | Monthly EHS Inspection Audit & Review | EHS Management Office | EHS Manager | 2026-09-30 | Pending

## Detailed Checklists
Key Equipment Detailed Checklists
Item Code | Inspection Category | Check Item / Criteria | Verification Method | Compliance Status | Remarks
FA-01 | First Aid Kits | Completeness and expiry dates of medical supplies verified | Visual / Checklist | Compliant | All stock verified
FA-02 | First Aid Kits | Box accessibility, cleanliness, and clear signage | Visual Check | Compliant
FA-03 | First Aid Kits | Usage logbook present and updated | Log Audit | Compliant
SK-01 | Spill Kits | Absorbent pads, socks, disposal bags, and PPE complete | Physical Check | Compliant
SK-02 | Spill Kits | Container condition intact and free from obstructions | Visual Check | Compliant
SK-03 | Spill Kits | Spill response procedure posted nearby | Visual Check | Compliant
FE-01 | Fire Extinguishers | Pressure gauge in green zone, safety pin and seal intact | Visual Check | Compliant
FE-02 | Fire Extinguishers | Mounted correctly with unobstructed access | Visual Check | Compliant
FE-03 | Fire Extinguishers | Valid monthly inspection tag attached | Tag Audit | Compliant
EW-01 | Eye Wash Stations | Water flow, pressure, and cleanliness operational check | Functional Test | Compliant
EW-02 | Eye Wash Stations | Area surrounding station clear of debris and trip hazards | Visual Check | Compliant
EL-01 | Electrical Panels | Panels closed/locked with warning signage displayed | Visual Check | Compliant
EL-02 | Electrical Panels | Cable insulation intact with no exposed live wires | Visual Test | Compliant