## Slide 1
SIEMENS
ENERGY
KAZ Power Plant Upgrade Project | Zero Harm Culture
CONFIDENTIAL سري - للإدارة العليا فقط
Subcontractor EHS Non-Compliance Report - Final Site Observations
تقرير مخالفات السلامة النهائي للمقاول الفرعي - 9 ملاحظات فعلية
Final Observations Summary - 9 Separate Slides Each With Photo Placeholders
01. Painting, Storage Fence, Cement Pouring WITHOUT PTW & Induction in ENERGIZED zone - No knowledge - CRITICAL 02. Excavation Soft Barricade Instead of Hard Barricade - Tape Only Prohibited - CRITICAL 03. Recurring PPE Violations Despite Warnings - Same Crew - HIGH 04. Historical Pattern - Bitumen, Workshop, Formwork Without PTW - Systemic - CRITICAL 05. Refusal to Stop Unsafe Equipment Despite EHS Order - Willful - CRITICAL 06. Unsafe Workshop Equipment - Exposed Cables, Missing Guards, Damaged Slings - CRITICAL 07. Poor Waste Management & Lack of Segregation - No System - HIGH 08. Deficiency in Safety Signage - Parking Garage & Speed Limits Missing - HIGH 09. Delayed Response from Al-Mial to Close Observations - Poor Close-Out - HIGH
Report Info & Design - FIXED
Ref: SE-EHS-NC-2026-FINAL-9OBS-V8-FIXED Date: September 2026 Prepared by: EHS Manager - Siemens Energy Project: KAZ Power Plant Upgrade Classification: Confidential - Top Management Design: Executive White Modern - FIXED • Background: Pure White #FFFFFF • Siemens Energy Logo on EVERY slide • Each violation SEPARATE slide (9 slides) • LARGE photo placeholder [أدخل صورة المخالفة هنا] • Very Clear - Red Bold - Drag & Drop • 3 photo boxes per slide: Main + Additional + After Each Slide Includes: ✓ Technical Description (5 points) ✓ Risk Assessment ✓ Corrective Action (5 points) ✓ Large Photo Placeholder 11 Slides Total: Title + 9 Observations + Closing Action Plan
Executive Statement - FIXED:
FINAL report with 9 ACTUAL observations - each violation SEPARATE slide with LARGE photo placeholder [Insert Violation Photo Here] / [أدخل صورة المخالفة هنا] - Siemens Energy logo on every slide - Executive white modern design - Ready for management.

## Slide 2
SIEMENS
ENERGY
01 - Unauthorized Works Without PTW & Induction in Energized Zone - Painting, Storage Fence, Cement
أعمال بدون تصريح وتعريف في منطقة انرجايز - طلاء، حاجز مخزن، صب أسمنت
RISK: CRITICAL مستوى الخطورة: CRITICAL
1. TECHNICAL DESCRIPTION / الوصف الفني
• Painting, Storage Fence, Cement Pouring WITHOUT PTW & Induction
• Subcontractor supervision has NO knowledge despite ENERGIZED zone
• No LOTO, no TRA, no EHS coordination
• Violation: SE Sec 5.3, KAZ Sec 6.1 & 7.2, ISO 45001
2. RISK ASSESSMENT / تقييم المخاطر - CRITICAL
FATALITY RISK: Electrocution, arc flash in energized zone. No LOTO, no PTW, no induction. Subcontractor has NO knowledge of own workers.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. STOP WORK - Evacuate energized zone - Hard barricade + LOTO
2. Remove non-inducted - 100% gate check - manpower list in 6h
3. Written explanation + RCA: How work started without knowledge?
4. Re-training PTW + Energized Zone within 24h - 80% pass
5. Daily work plan 24h in advance to SE EHS - No plan, no work
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Painting Without PTW / Storage Fence / Cement in Energized Zone Fig 01.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 01 | SE-EHS-NC-2026-FINAL

## Slide 3
SIEMENS
ENERGY
02 - Excavation Barricades - Soft Barricade Instead of Hard Barricade
حواجز الحفر - سوفت باركيد بدل هارد باركيد
RISK: CRITICAL مستوى الخطورة: CRITICAL
1. TECHNICAL DESCRIPTION / الوصف الفني
• Majority excavations with SOFT tape only - PROHIBITED for >1.2m depth
• Depth 1.2-2.5m - hard barricade MANDATORY per SE-GEN-EHS-007, OSHA 1926
• No ladders, spoil within 1m, no reflective markers, no night lighting
2. RISK ASSESSMENT / تقييم المخاطر - CRITICAL
Fatal fall, cave-in. Soft tape ZERO protection. High-Risk MAH. Regulatory prohibition.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. Replace ALL soft with HARD barricades - scaffold tubes / concrete - within 12h
2. Ladders every 7.5m, spoil 1.5m away, reflective + solar lights
3. Permit re-validation + geotech + competent person daily checklist
4. NCR Level 2 + penalty + back-charge
5. Before/After photos for closure
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Excavation Soft Tape Only - No Hard Barricade Fig 02.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 02 | SE-EHS-NC-2026-FINAL

## Slide 4
SIEMENS
ENERGY
03 - Recurring PPE Violations Despite Warnings
مخالفات PPE متكررة رغم التحذيرات
RISK: HIGH مستوى الخطورة: HIGH
1. TECHNICAL DESCRIPTION / الوصف الفني
• Persistent PPE failure: Helmet without chin strap, glasses, gloves, hi-vis, boots, harness at height
• Same crew, same violations, NO improvement after multiple warnings
• Supervision present but not enforcing - behavioral failure
2. RISK ASSESSMENT / تقييم المخاطر - HIGH
Head injury, eye injury, fall from height. Recurring indicates cultural failure. Increases LTIFR. Precursor to fatality.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. On-site correction + TBT with photos - Observation Cards + violation notice
2. BBS - daily PPE checks + random - scorecard
3. 3-Strikes Removal: 1st warning, 2nd suspension, 3rd removal
4. Link PPE to KPI and payment
5. Daily management safety walks + recognition
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
PPE Violation - No Helmet / No Harness at Height Fig 03.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 03 | SE-EHS-NC-2026-FINAL

## Slide 5
SIEMENS
ENERGY
04 - Historical Pattern - Bitumen, Workshop, Formwork Without PTW
نمط تاريخي - بيتومين وورشة وفورم ورك بدون بيرمت
RISK: CRITICAL مستوى الخطورة: CRITICAL
1. TECHNICAL DESCRIPTION / الوصف الفني
• Same PTW violation repeated: Bitumen (hot work), Workshop (electrical, grinding), Formwork (height, collapse)
• All without PTW, without TRA, without EHS coordination - documented in previous NCRs
• No corrective action - same root cause repeated
2. RISK ASSESSMENT / تقييم المخاطر - CRITICAL
Systemic PTW failure. Bitumen: fire/burn. Workshop: electric shock. Formwork: collapse, fall. If PTW optional, all controls fail.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. PTW System Audit - review ALL historical PTWs - audit report in 48h
2. Mandatory PTW Re-Training for ALL - 80% pass - no pass, no work
3. Cumulative NCR Level 2 + penalty escalation - consider suspension
4. Digital PTW System - QR code - mandatory TRA, isolation, EHS approval
5. Weekly PTW Compliance Trend - target 100% - link to payment
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Bitumen Without PTW / Workshop Without PTW / Formwork Without PTW Fig 04.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 04 | SE-EHS-NC-2026-FINAL

## Slide 6
SIEMENS
ENERGY
05 - Non-Compliance with EHS Directives - Refusal to Stop Unsafe Equipment
عدم الالتزام بأوامر السلامة - رفض إيقاف معدات غير آمنة
RISK: CRITICAL مستوى الخطورة: CRITICAL
1. TECHNICAL DESCRIPTION / الوصف الفني
• EHS issued STOP order for unsafe equipment (leaking, damaged cables, no guard)
• Subcontractor REFUSED and CONTINUED work - willful disregard - direct challenge to EHS authority
• Equipment: Leaking oil/fuel, exposed cables, grinder without guard, no inspection cert
2. RISK ASSESSMENT / تقييم المخاطر - CRITICAL
Erosion of EHS authority. If Stop Work can be ignored, all controls at risk. Fire, electric shock, failure. Willful violation - highest disciplinary.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. Escalation to Top Management - formal letter to MD - explanation within 12h
2. Enforce Stop Work - ground ALL unsafe equipment - Tag DO NOT USE - remove keys - fire watch
3. Invoke penalty clause - highest level - back-charge
4. Remove/replace non-compliant supervision who refused - CV + competency interview by SE
5. Emergency Leadership Meeting - re-communicate Stop Work Authority - signed commitment
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Unsafe Equipment Ordered to Stop But Continued - Refusal Fig 05.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 05 | SE-EHS-NC-2026-FINAL

## Slide 7
SIEMENS
ENERGY
06 - Unsafe Condition of Workshop Equipment
معدات الورشة غير آمنة
RISK: CRITICAL مستوى الخطورة: CRITICAL
1. TECHNICAL DESCRIPTION / الوصف الفني
• Damaged/uninspected: Exposed cables, grinders without guards, welding without earthing, damaged slings/shackles, leaking
• No maintenance records - checklists falsified - same signature 7 days
• No drip trays - soil contamination ~5 sqm - oil leaks active
• No third-party certs - no operator competency
2. RISK ASSESSMENT / تقييم المخاطر - CRITICAL
Electric shock, fire/explosion, hand/eye injury, lifting failure dropped load, soil pollution. Breakdown of maintenance system. Multiple fatalities potential.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. Ground ALL unsafe workshop equipment - Tag DO NOT USE - inventory
2. Excavate contaminated soil as haz waste - absorbents - drip trays + spill kits 100%
3. Submit equipment register + maintenance history + 3rd party certs in 48h - No cert, no operation
4. Daily checklist verified by SE EHS/Mechanical with photo - guard, no leaks, cable intact
5. Replace damaged cables, guards, slings - training on inspection - competency assessment
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Exposed Cable / Grinder Without Guard / Damaged Sling / Oil Leak Fig 06.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 06 | SE-EHS-NC-2026-FINAL

## Slide 8
SIEMENS
ENERGY
07 - Poor Waste Management & Lack of Segregation
سوء إدارة النفايات وعدم فصل المواد
RISK: HIGH مستوى الخطورة: HIGH
1. TECHNICAL DESCRIPTION / الوصف الفني
• No segregation, no labeling, no color-coding, no defined waste area - poor housekeeping
• Mixed: Hazardous (oil rags, filters, paint), recyclable (wood, plastic), general in same skip
• No MSDS, no HAZCHEM, no spill kit - containers overflowing, waste on ground
2. RISK ASSESSMENT / تقييم المخاطر - HIGH
Soil/groundwater pollution, fire from incompatible mixing, regulatory fine, reputational damage, sustainability KPI failure, slip/trip.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. Color-coded skips: Black-General, Green-Recyclable, Red-Hazardous with HAZCHEM + MSDS
2. Clean-up and correct segregation under EHS supervision - define waste area with barricade + signage
3. Training on Waste Management - hazardous handling, spill prevention, manifest, housekeeping
4. Appoint Waste Focal Point - daily housekeeping, segregation, inspection
5. Weekly waste audit - volumes + manifests - monthly report - target Zero mixed waste - KPI
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Mixed Waste in One Skip / Oil Rags in General Waste Fig 07.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 07 | SE-EHS-NC-2026-FINAL

## Slide 9
SIEMENS
ENERGY
08 - Deficiency in Safety Signage - Parking Garage & Speed Limits
نقص لوحات السلامة - باركنك وسرعة
RISK: HIGH مستوى الخطورة: HIGH
1. TECHNICAL DESCRIPTION / الوصف الفني
• Parking garage: No parking signage, no pedestrian walkway, no speed limit inside garage, no arrows, no stop signs
• Speed: 15 km/h signs missing/damaged - no humps, no radar - speeding 30 km/h observed
• No segregation vehicle-pedestrian in parking - workers walking through parking with moving vehicles - blind spots
2. RISK ASSESSMENT / تقييم المخاطر - HIGH
Vehicle-pedestrian collision, vehicle-vehicle collision, fatality in parking. Top 3 fatality causes. Liability increases. Emergency access impeded. Reversing incidents.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. Reinstate all signage per TMP - retro-reflective - parking, speed 15 km/h, pedestrian walkway, stop, arrows
2. Dedicated pedestrian routes in garage with hard segregation - Jersey barriers + green paint + crossing
3. Speed humps + flagmen at garage entrance/exit + radar 2x daily - log violations
4. Traffic safety campaign + driver re-induction - parking hazards, reversing, pedestrian priority
5. EHS + Logistics joint daily inspection - checklist signed - photo evidence
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Missing Parking Signage / Missing Speed Limit / No Pedestrian Walkway Fig 08.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 08 | SE-EHS-NC-2026-FINAL

## Slide 10
SIEMENS
ENERGY
09 - Delayed Response from Al-Mial to Close Observations
تأخر استجابة الميال لإغلاق الملاحظات
RISK: HIGH مستوى الخطورة: HIGH
1. TECHNICAL DESCRIPTION / الوصف الفني
• Significant delay to close observations, NCRs, Observation Cards - days/weeks open - no corrective action, no evidence, no RCA - repeated follow-ups
• Previous NCRs closed without evidence - falsification - same violations recurring
• No dedicated EHS focal point to track and close - no tracking system - observations lost/ignored
2. RISK ASSESSMENT / تقييم المخاطر - HIGH
Open observations = uncontrolled hazards on site - risk of incident from known hazard. Delay indicates no value for EHS - cultural failure. Erosion of EHS system. Liability increases.
3. CORRECTIVE ACTION / الإجراء التصحيحي
1. Appoint dedicated EHS Focal Point - name, CV, contact within 12h - responsible for tracking and closing ALL
2. Submit close-out plan for ALL open observations within 24h - actions, owner, deadline, evidence - prioritized by risk
3. Implement Observation Tracking System - Excel tracker - ID, Date, Description, Risk, Owner, Deadline, Status, Evidence, Verified by - updated daily
4. Weekly Close-Out Meeting - Al-Mial PM + Focal Point + SE EHS - review open, evidence, trend - minutes
5. Link close-out to penalty and KPI - target: Critical 24h, High 72h, Medium 7 days - include in scorecard and payment
📷 PHOTO EVIDENCE / مساحة الصور الموقعية
[أدخل صورة المخالفة هنا]
[Insert Violation Photo Here]
Open Observations List - Overdue / Tracker Showing Delay Fig 09.1 - Main Evidence
⬆️ DRAG & DROP YOUR SITE PHOTO HERE اسحب الصورة وألصقها هنا Add: Date, Time, Location, GPS
Photo Details: Date: ___/___/___ Time: ___:___ Location: ___________ Taken by: ___________ تفاصيل الصورة: التاريخ، الوقت، الموقع، المصور
[Additional Photo 2] [أدخل صورة إضافية] Fig X.2
[After Correction] [بعد التصحيح] Fig X.3
SIEMENS ENERGY | KAZ Project | EHS | Confidential
Slide 09 | SE-EHS-NC-2026-FINAL

## Slide 11
SIEMENS
ENERGY
Final Recommendations & Action Plan - 9 Observations
🔴 IMMEDIATE (0-24h)
• STOP WORK: Painting, Storage, Cement, Excavation without hard barricade, Unsafe equipment • Secure ENERGIZED zone - hard barricade + LOTO + fire watch • Remove non-inducted - 100% gate - manpower list vs induction in 6h • Ground leaking/unsafe equipment - Tag DO NOT USE • Issue NCR Level 2 + warning - cumulative • Emergency meeting - Al-Mial MD + PM within 12h [Photo: Secured energized zone] DECISION: Approve Stop-Work Authority
🟡 SHORT-TERM (1-7 Days)
• PTW Audit: bitumen, workshop, formwork, painting, storage, cement - 48h • Re-Training: PTW + Energized Zone + Excavation + PPE + Waste - 80% pass • Hard Barricades: Replace ALL soft tape with hard - 12h - Before/After • Workshop Equipment: Inventory + certs in 48h - replace damaged • Waste: Color-coded skips + focal point + training • Signage: Parking + speed 15 km/h - retro-reflective + flagmen + radar • PPE Campaign + BBS + Daily walks [Photo: Compliant state] DECISION: Approve $20k - back-charge
🟢 STRATEGIC (7-30 Days)
• Penalty Matrix: KPIs - TRIR, NCR closure, PTW compliance, close-out • Leadership: Replace non-performing supervisors who refused order • System Upgrade: Digital PTW QR + Biometric induction + checklist app + tracker • KPI & Scorecard: Weekly dashboard Red/Amber/Green to Top Management • Independent Audit: 3rd party EHS audit ISO 45001/14001 gap • Zero Harm Commitment: Re-sign Life Saving Rules - Townhall • Contingency: Demobilization / replacement plan if no improvement [Photo: Dashboard / Training] DECISION: Authorize partial termination if recur
✅ MANAGEMENT DECISION MATRIX - REQUIRED TODAY
1. Approve Stop-Work Authority for Energized Zone + Unsafe Equipment [ ] Yes [ ] No 2. Authorize Warning + Penalty for Refusal to Follow EHS Order [ ] Yes [ ] No 3. Mandate Al-Mial Top Management On-Site within 12h with Written Explanation [ ] Yes [ ] No 4. Approve Budget $20k for Hard Barricades, Signage, Waste Skips - Back-charge [ ] Yes [ ] No 5. Endorse Zero Tolerance 3 Strikes + Observation Close-Out KPI (Critical 24h) [ ] Yes [ ] No Signature: _________________ Project Director Date: _______ | Signature: _________________ Construction Manager Date: _______