# SITE INSTRUCTION: SITE ACCESS, SECURITY & EHS INSTRUCTION

### Project: KAZ Power Plant Upgrade Project | Document No.: KAZ-EHS-PRO-2026-001

Revision / Date: Rev 05 / September 2026  |  Status: Approved / For Construction & Implementation

| Document Parameter | Project Specification & Details |
| --- | --- |
| Project Title | KAZ Power Plant Upgrade Project (Basra, Iraq) |
| Client / Stakeholders | Ministry of Electricity (MOE) & Basrah Gas Company (BGC) |
| Principal Contractor | Siemens Energy |
| Prepared By | Ahmed Mansoor Hashim Kazem (EHS Manager) 5- September-2026 |
| Approved By | Siemens Energy Site Management (SESM) |
| Official Site Working Hours | 06:00 AM – 03:00 PM (6 Days / Week) |

## 1. Purpose and General Principles

This Site Instruction establishes mandatory rules for access control, security, operational safety, and environmental management for the KAZ Power Plant Upgrade Project.

- Compliance: Applies strictly to all Siemens Energy staff, contractors, sub-contractors, vendors, and visitors.

- Security Searches: All persons, personal belongings, vehicles, and deliveries are subject to authorized security checks upon site entry and exit.

- Disclaimer: Site security is not responsible for contractor tools or equipment stored in laydown areas.

## 2. Personnel Access and Site ID Cards

- ID Requirement: Submission of personnel arrival notice (48h prior, Annex 1) and Site ID application (24h prior, Annex 6) is required. Entry under 18 years of age is strictly prohibited.

- Documentation: Valid ID/passport, work permit, health insurance, and certified operator licenses must be presented.

- Induction & PTW: Mandatory EHS Site Induction (1-year validity). Permit to Work (PTW) required 48 hours prior to work execution. Daily Toolbox Talks (TBT) and Last Minute Risk Assessments (LMRA) are mandatory.

- Mandatory Site Training: All site personnel must undergo Personal Safety Instruction (PSI), EHS Plan alignment, and Electrical Safety Training before receiving unaccompanied access.

## 3. Visitor Management Procedures

- Pre-Approval: Requests required 24 hours in advance (Annex 2). Visitors must deposit photo ID at the gatehouse and be met by a designated site host.

- Escort & Restrictions: Visitors must be escorted by permanent staff at all times. Manual labor, operating machinery, and taking photographs/videos are strictly prohibited without written SESM authorization.

## 4. Drug & Alcohol Policy

- Zero Tolerance: Site Security and qualified site medical personnel enforce random Drug & Alcohol screening. Refusal or positive results lead to immediate ejection and a permanent site ban.

## 5. Operational Safety, High-Risk Zones & Electrical Safety

- Electrical Red Zones: Defined physical boundaries and strict approach distances around high-voltage (400kV / 132kV / 11kV) energized switchgear facilities.

- Lockout / Tagout (LOTO): Mandatory Lockout/Tagout isolation approval for electrical and mechanical energy sources prior to starting maintenance or tie-in works under nominated Operations and Switching Supervisors.

- Power Line Proximity: Work closer than 30 meters from high-voltage systems requires formal alignment with the plant owner and physical site demarcation.

- Severe Weather Protocol: All crane activities, elevated work (lifts/scaffolding), and electrical works must immediately cease during thunderstorms due to lightning/induced voltage risks.

- Hot Work & Gas Monitoring: Valid Hot Work certification required. Continuous gas monitoring mandatory during hot work near plant facilities.

- Working at Height: Mandatory approved scaffolding or fall arrest harnesses (with chin-strap helmets). Drop-zone cordoning and overhead protection required. Defective height equipment must be removed immediately.

- Excavations: Machinery kept at least 1.5m from edges; shoring or sloping required for depths exceeding 1.2m.

- Incident Reporting: Any accident or Near-Miss (RUO) must be reported to the EHS Department within 1 hour of occurrence.

## 6. Mandatory Personal Protective Equipment (PPE) Standards

In alignment with Siemens Energy Global EHS Standards and Project EHS Plan, all site personnel must wear the following mandatory PPE at all times:

- Safety Helmet equipped with a chin strap or protective safety cap.

- Flame-Retardant Protective Clothing (Trousers & Jacket in Visibility Class 1).

- Safety Shoes with toe protection and puncture-resistant steel soles (Rating S3 / S1P).

- Protective Safety Glasses (ANSI/EN certified) and Task-Specific Gloves.

- Hearing Protection in designated high-noise areas (>85 dBA).

## 7. Traffic Management & Material Gate Passes

- Speed Limit: Maximum speed inside the site is strictly 5 km/h.

- Vehicle Safety: Vehicles must display a Green Vehicle Pass (Annex 5), flashing orange lights, and reversing alarms. Reversing requires a dedicated Banksman.

- Material Removal: Removing tools, equipment, or waste requires an approved Material Entry & Exit Form / Material Gate Pass (Annex 7).

## 8. Environmental Protection & Heat Stress Management

- Chemical Safety (MSDS / SDS): All chemicals, lubricants, and hazardous materials delivered to site must be listed in the electronic substance register and accompanied by an up-to-date Safety Data Sheet (MSDS/SDS). Hazardous substances like Asbestos and PCBs are strictly banned.

- Heat Stress Management: Daily monitoring of Wet Bulb Globe Temperature (WBGT Index) when ambient temperature exceeds 40°C. Provision of shaded shelters, chilled drinking water, and oral rehydration electrolytes with a mandatory work-rest regime during extreme heat conditions.

- Environmental & Waste Controls: Mandatory drip trays under static engines/machinery; spill kits on standby; clean workplace policy ("Clean Everything - Always!"); regular water spraying for dust suppression on unpaved roads.

## 9. Non-Compliance Penalty Matrix

| Violation Type | 1st Offense | 2nd Offense | 3rd Offense / Critical |
| --- | --- | --- | --- |
| Speeding (> 5 km/h) | Warning & 2-day vehicle ban | 1-week vehicle & driver ban | Permanent site ban |
| PPE Non-Compliance | Work stoppage & written warning | Contractor fine | ID cancellation & site removal |
| Red Zone / LOTO Breach | Work stoppage & 1-week suspension | — | Permanent site expulsion |
| Lost / Damaged Site ID Card | $50 USD replacement fee | — | — |
| Positive D&A Test / Alcohol | Immediate permanent site ban | — | — |
| Unauthorized Material Removal | Item confiscation & investigation | — | — |
| Unauthorized Photography | Media deletion & warning | — | Permanent site ban |

## 10. Emergency Access & Communication

Emergency vehicles (Fire, Ambulance) have immediate, unrestricted access with site escorts. All non-essential work must cease immediately during emergency alarms, and personnel must assemble at designated Assembly Points.

Emergency Hotline / UHF Channel: Managed and assigned by the Site EHS Control Room (UHF Channel 1 / Site Emergency Line).

## 11. Associated Forms & Annexes

- Annex 1: Notification of Arrival of Personnel Form

- Annex 2: Visitor Notification & Approval Form

- Annex 3: Visitor Safety Acknowledgement Form

- Annex 4: Vehicle Access Application Form

- Annex 5: Green Vehicle Access Authorization

- Annex 6: Site ID Application Form

- Annex 7: Material Entry & Exit Request Form (Material Gate Pass)

## 12. Document Review & Approvals

| Prepared By | Reviewed By | Approved By |
| --- | --- | --- |
| Name: Ahmed Mansoor Hashim Kazem Role: EHS Manager Signature: Date: 05/09/2026 | Name: Dogukan Arandi Role: EHS Director Signature: _ ______________ Date: ___/___/2026 | Name: Onur Ozvatan Role: Project Director Signature: _______________ Date: ___/___/2026 |