## Slide 1
SIEMENS ENERGY / EHS
AUDIT & FINDINGS
EHS Site Inspection Report –
Night Concrete Pouring Operation
Key Observations, Compliance Gaps & Corrective Actions
NIGHT / POUR
CONTROL VISIBILITY
DATE
[Date]
LOCATION
[Site Name]
PREPARED BY
Ahmed Al-Mansoury
EHS Manager
FOR MANAGEMENT REVIEW • INSERT FIELD PHOTOS BEFORE ISSUE
01 / 10

## Slide 2
EHS / NIGHT SHIFT
EXECUTIVE SUMMARY / CONTEXT
SIEMENS ENERGY / 02
WHY THIS AUDIT MATTERS
Night work demands visible control
Concrete pouring compresses people, plant and temporary works into a low-light operating window.
SCOPE
Night shift concrete pouring activities inspection.
PURPOSE
Confirm EHS compliance, structural safety and personnel protection during night operations.
CONTROL LENSES
01
PEOPLE
PPE, competence & safe movement
02
PLANT
Pump stability & tool handling
03
PLACE
Lighting, waste & housekeeping
CONTROL MESSAGE
High-risk controls must be verified in the field — not assumed from the method statement.

## Slide 3
EHS / NIGHT SHIFT
OBSERVATION 01 / CORRECTIVE ACTION
SIEMENS ENERGY / 03
01
FIELD OBSERVATION
HIGH
Personal Protective Equipment (PPE) Compliance
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
Personnel were observed inside the active site without full mandatory PPE.
KEY QUESTION
Why is full PPE not being worn during hazardous night operations?
FIELD EVIDENCE
[ INSERT PHOTO HERE ]
Personnel without PPE
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
100% mandatory PPE compliance for all personnel on site at all times.
OWNER
Site Management
CLOSE
Before next entry

## Slide 4
EHS / NIGHT SHIFT
OBSERVATION 02 / CORRECTIVE ACTION
SIEMENS ENERGY / 04
02
FIELD OBSERVATION
HIGH
Access Routes Within Concrete Pouring Area
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
No safe, unobstructed access route was provided for workers moving between work areas.
KEY QUESTION
How can workers navigate safely across the pouring area without a defined route?
FIELD EVIDENCE
[ INSERT PHOTO HERE ]
Poor / missing access area
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
Establish clear, safe and illuminated walkways across the pouring zone immediately.
OWNER
Main Contractor
CLOSE
Immediate

## Slide 5
EHS / NIGHT SHIFT
OBSERVATION 03 / CORRECTIVE ACTION
SIEMENS ENERGY / 05
03
FIELD OBSERVATION
HIGH
Manual Operation of Concrete Vibrator
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
A hazard was observed during manual movement and handling of the vibrator while actively operating.
KEY QUESTION
Is manual movement of an operating vibrator without proper risk controls acceptable?
FIELD EVIDENCE
[ INSERT PHOTO HERE ]
Concrete vibrator operation
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
Enforce safe handling procedures and ergonomics for vibrator operators.
OWNER
Concrete Subcontractor
CLOSE
Before next pour

## Slide 6
EHS / NIGHT SHIFT
OBSERVATION 04 / CORRECTIVE ACTION
SIEMENS ENERGY / 06
04
FIELD OBSERVATION
CRITICAL
Concrete Pump Setup & Outrigger Clearance
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
Required outrigger clearance was not achieved per the approved setup plan; setback from the pit edge was insufficient.
RISK
Potential equipment instability, overturning and structural collapse.
FIELD EVIDENCE
[ INSERT PHOTO HERE ]
Pump outrigger setup
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
Immediately relocate / re-set the pump with fully extended outriggers and safe setback from the excavation edge.
OWNER
Pump Supervisor
CLOSE
STOP / re-set now

## Slide 7
EHS / NIGHT SHIFT
OBSERVATION 05 / CORRECTIVE ACTION
SIEMENS ENERGY / 07
05
FIELD OBSERVATION
CRITICAL
Concrete Mixer Drivers’ Qualification
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
None of the concrete mixer operators possessed a valid driving license or third-party competency certificate.
CONTROL GAP
Unverified drivers create an immediate authorization and road-vehicle interface exposure.
FIELD EVIDENCE
[ INSERT PHOTO HERE ]
Mixer truck / verification check
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
Stop unauthorized drivers. Validate and collect third-party certificates and valid licenses before site entry.
OWNER
Transport Contractor
CLOSE
Before site entry

## Slide 8
EHS / NIGHT SHIFT
OBSERVATION 06 / CORRECTIVE ACTION
SIEMENS ENERGY / 08
06
FIELD OBSERVATION
HIGH
Improper Concrete Waste Disposal
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
Leftover concrete was repeatedly discharged directly onto the ground instead of designated sheets or disposal pits.
ENVIRONMENTAL RISK
Uncontrolled discharge contaminates the work area and defeats the approved waste route.
FIELD EVIDENCE A
[ INSERT PHOTO HERE ]
Dumped concrete
FIELD EVIDENCE B
[ INSERT PHOTO HERE ]
Designated wash-out area
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
Stop illegal dumping immediately. Use polythene sheets and designated wash-out areas for every load.
OWNER
Environmental Lead
CLOSE
Same shift

## Slide 9
EHS / NIGHT SHIFT
OBSERVATION 07 / CORRECTIVE ACTION
SIEMENS ENERGY / 09
07
FIELD OBSERVATION
HIGH
Temporary Lighting Cable Joint Safety
CONTROL GAP • NIGHT CONCRETE POURING OPERATION
FINDING
Lighting cables contained exposed / temporary joints, creating severe electrical and trip hazards during night shift.
RISK
Low-light conditions amplify both electric shock and trip potential at the workface.
FIELD EVIDENCE
[ INSERT PHOTO HERE ]
Exposed cable joint
REPLACE WITH SITE PHOTO BEFORE ISSUE
ACTION REQUIRED
Repair and properly insulate all joints using industrial-grade weather-proof connectors.
OWNER
Electrical Contractor
CLOSE
Before night work

## Slide 10
EHS / NIGHT SHIFT
SUMMARY / IMMEDIATE ACTION PLAN
SIEMENS ENERGY / 10
CLOSE THE GAP BEFORE THE NEXT POUR
Summary & immediate action plan
One accountable owner. One verified closure. No repeat exposure.
#
OBSERVATION
RISK
RESPONSIBLE PARTY
CLOSURE DEADLINE
01
PPE compliance
HIGH
Site Management
Before next entry
02
Safe access / movement
HIGH
Main Contractor
Immediate
03
Concrete vibrator handling
HIGH
Concrete Subcontractor
Before next pour
04
Pump outrigger clearance
CRITICAL
Pump Supervisor
STOP / re-set now
05
Driver licensing & competency
CRITICAL
Transport Contractor
Before site entry
06
Concrete waste disposal
HIGH
Environmental Lead
Same shift
07
Lighting cable joints
HIGH
Electrical Contractor
Before night work
MANAGEMENT DECISION
Release the next night pour only after critical controls are verified and evidence is attached.